February 5, 2010

To:   	Jean Fraser

Barbara Barhydt

From:	David Margolis-Pineo

Public Services Review Comments

Re:	Vance’s Tow Lot – 355 Warren Ave

This Department has the following comments.

- There is an existing catch basin located within the 40’ Saville paper street which is not shown on the plans.  This catch basin discharges off the dead end of Saville St. into a branch of Capisic Stream which flows behind the Bennett property.  I do not believe this omission has any negative impact on the proposed project as presented and therefore have no issue with the catch basin and drain pipe not being shown on the plans at this time.  However the catch basin should be shown on the record drawings.

- Both of the proposed catch basins should be installed with three foot sump and both shall have Casco Traps installed on the outlet pipe.

- The applicant is asked to submit a maintenance plan for the stormwater treatment unit.

- If any excavation takes place within the Warren Ave R-O-W, the applicant is reminded that a street opening permit is required.