## Memorandum

Department of Planning and Development

Planning Division

TO:		Inspections Department

FROM:	Philip DiPierro, Development Review Coordinator

DATE:	July 27, 2012

RE:		C. of O. for # 501-509 Warren Avenue, Shed Happens

(Id#2012-474) (CBL 304 A 015001-018001 & 037001-038001)

After visiting the site, I have the following comments:

Site work incomplete:

- Installation of light poles and luminaires.

- Installation of concrete parking stops in place of curbing

- Striping and signs.

- Bicycle rack.

- Submission of as-built drawings.

- Miscellaneous other minor site work.

I anticipate this work can be completed by August 15, 2012.

At this time, I recommend issuing a temporary Certificate of Occupancy.

Cc:	Tammy Munson, Inspection Services Manager

Barbara Barhydt, Development Review Services Manager

File:  1 Solution