Applicant: Regional Electric

App Phone #: 207-576-2793

Building Name: School Department Central

Kitchen z

Building Address: 92 Waldron Way

Occupancy: Industrial

Assembly OL>300, 20 unit apartment building, etc. Emergency Contact: Aaron Shields

Emergency phone #: 207-232-0483


Date of Application: 5/24/13

Billing Address: City of Portland

Comments:

**Applicant completes red box and submits with Fire Alarm Permit**

Fire Prevention: Approved 🞏 Denied



**1**

6 / 21 / 13 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Date Fire Prevention Officer

Zone 1: Water flow Zone 2: City disconnect – Water Flow .

Zone 3: Pulls and detectors . Zone 4: City disconnect – Pulls and Detectors.

Zone 5: Unassigned Zone 6: Unassigned .


Zone 7: Unassigned Zone 8: AES Tamper switch . .



Modify City Box response to alarm sounding in CAD­­­­­: 🞏 YES 🞏 NO .

**2**

Fire Alarm: Box #: \_\_\_\_\_\_



Electrical Division: 🞏 Approved 🞏 Denied

Box Type: AES Radio Box / \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

New Other

**3**

Test Date: \_\_\_\_\_/\_\_\_\_\_/\_\_\_\_\_ In Service Date: \_\_\_\_\_/\_\_\_\_\_/\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fire Alarm Technician

AES

Circuit if applicable:

Fire Alarm: Same Running Assignment As Box: \_\_\_\_\_

**4**

Notifications: 🞏 All Stations 🞏 Run Books 🞏 Digitizer 🞏 Computer 🞏 Cad Box Test

🞏 South Portland 🞏 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Other Dispatcher

**5**

Billing: 🞏 Entered \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Financial Officer