# City of

Portland

Memo

To:  Lou Wood

From:	Jeanie Bourke

Date:	2/3/05

Re:	  23/27 and 26/32 Jarita Court – Plan Review Checklist

Dear Lou:

As we discussed via telephone, here is the list of required submissions for the continuation of the review process.  In addition to the specs for the 1hr fire rated/50 sound transmission partition, the following items are required.

- Verification of sheetrock under stairs in pantry closet

- Verification of window manufacturer and egress size

- Show attic scuttles – minimum of 22” x 30” clear

- Show minimum headroom requirement in stairways

- Verification of the garage beam to be 1hr rated as well

Thank you,

Jeanie Bourke

Plan Reviewer/Code Officer

City of Portland

Inspections Division