Tuck O’Brien

City Planning Director, Planning Division

May 9, 2016

| Bob Gaudreau, 1039 Riverside LLC c/o Hardy Pond Construction 7 Tee Drive Portland, ME 04103 | Stephen R. Bushey, PE Stantec 778 Main Street, Suite 8 South Portland, ME 04106 |
| --- | --- |

Project Name:	Lot #2 Second Tee Business Park (1039 Riverside Street) – new building

Project ID:	#2016-055

Address:	Unit #2- 1067 Riverside Street (also accessed from Tee Drive)

CBL:  		331 A001 002

Applicant:	1039 Riverside LLC

Planner: 	Jean Fraser

Dear Sirs:

On May 9, 2016, the Planning Authority approved with conditions a Level II site plan for the construction of a 7,500 sq ft building with 15 parking spaces, for Lot #2 in the Second Tee Business Park. The decision is based upon the application, documents and plans as submitted by the applicant and prepared by Stantec Consulting Services Inc. (C-1 to C-10 dated 5.4.2016) and Elevations A-2 dated 4.26.2016 by Biskup Construction Inc.  The proposal was reviewed for conformance with the standards of Portland’s site plan ordinance.

Site Plan Review

The Planning Authority found the plan is in conformance with the Site Plan Standards of the Land Use Code subject to the following conditions of approval and the standard conditions of approval:

- That if the at-grade overhead door opening directly onto Tee Drive is to be used frequently, the parking spaces on Tee Drive shall be removed and similar pavement markings to that used at the loading dock entrance shall be installed; and

- That the roof line drip strip filter cannot be paved over or altered in any way and that no gutter may be installed on the roof line, as per Chapter 7.6 of Volume III of the MaineDEP Stormwater BMP Manual; and

- Storm Water Management:   The developer/contractor/subcontractor shall comply with conditions of the submitted construction Stormwater Inspection and Maintenance Manual for Stormwater Management and Related Stormwater Facilities Unit 2 dated April 2016 and prepared by Stantec consulting Services, Inc., which shall be amended to include the roof line drip strip prohibitions referenced in Condition ii, and based on City standards and state guidelines. The owner/operator of the approved stormwater management system and all assigns shall comply with the conditions of Chapter 32 Stormwater including Article III, Post Construction Stormwater Management, which specifies the annual inspections and reporting requirements.

- The stormwater maintenance agreement for the stormwater drainage system, as submitted on April 15, 2016, shall have attached the Recorded Fourth Amended Plat; Plan C-5 and the Stormwater  Inspection and Maintenance Manual for Stormwater Management and Related Stormwater Facilities Unit 2 (April , 2016) and shall be signed and recorded prior to the issuance of a building permit with a copy to the Department of Public Works and to the Planning Division.

- That the applicant shall submit the City of Portland Water District confirmation of ability to serve, prior to the issuance of a building permit; and

- That separate permits from the Inspections Division shall be required for any new or revised signage.

The approval is based on the submitted site plan.  If you need to make any modifications to the approved site plan, you must submit a revised site plan for staff review and approval.

Please note that any proposed development of the two undeveloped lots within this subdivision (Lots #1 and #15) are subject to review under Site Plan (Level II).  The Site Plan applications would need to include traffic information showing whether or not they require a Traffic Movement Permit, and would need to meet current site plan standards (whether or not the footprint is changed from that shown on the plat).

- Standard Conditions of Approval

Please note the following standard conditions of approval and requirements for all approved site plans:

- Develop Site According to Plan  The site shall be developed and maintained as depicted on the site plan and in the written submission of the applicant. Modification of any approved site plan or alteration of a parcel which was the subject of site plan approval after May 20, 1974, shall require the prior approval of a revised site plan by the Planning Board or Planning Authority pursuant to the terms of Chapter 14, Land Use, of the Portland City Code.

- Separate Building Permits Are Required  This approval does not constitute approval of building plans, which must be reviewed and approved by the City of Portland’s Inspection Division.

- Site Plan Expiration The site plan approval will be deemed to have expired unless work has commenced within one (1) year of the approval or within a time period up to three (3) years from the approval date as agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the one (1) year expiration date.

- Performance Guarantee and Inspection Fees  A performance guarantee covering the site improvements, inspection fee payment of 2.0% of the guarantee amount and seven (7) final sets of plans must be submitted to and approved by the Planning Division and Public Works Department prior to the release of a building permit, street opening permit or certificate of occupancy for site plans.  If you need to make any modifications to the approved plans, you must submit a revised site plan application for staff review and approval.

- Defect Guarantee  A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

- Preconstruction Meeting  Prior to the release of a building permit or site construction, a pre-construction meeting shall be held at the project site.  This meeting will be held with the contractor, Development Review Coordinator, Public Work's representative and owner to review

the construction schedule and critical aspects of the site work.  At that time, the Development

Review Coordinator will confirm that the contractor is working from the approved site plan.  The site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

- Department of Public Works Permits  If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

- As-Built Final Plans  Final sets of as-built plans shall be submitted digitally to the Planning Division, on a CD or DVD, in AutoCAD format (*,dwg), release AutoCAD 2005 or greater.

The Development Review Coordinator must be notified five (5) working days prior to the date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  All site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

- If there are any questions, please contact Jean Fraser at (207) 874- 8728, or at jf@portlandmaine.gov .

Sincerely,

- Stuart O’Brien

Planning Division Director

Attachments:

- Chapter 32 – Storm Water

- Performance Guarantee Packet

Electronic Distribution:

cc

| - Jeff Levine, AICP, Director of Planning and Urban Development - Stuart O’Brien, Planning Division Director - Barbara Barhydt, Development Review Services Manager - Jean Fraser, Planner - Philip DiPierro, Development Review Coordinator, Planning - Ann Machado, Zoning Administrator, Inspections Division - Tammy Munson, Inspections Division Director - Jonathan Rioux, Inspections Division Deputy Director - Jeanie Bourke, Plan Reviewer/CEO, Inspections Division - Brad Saucier, Administration, Inspections Division - Katherine Earley, Engineering Services Manager, Public Works - Bill Clark, Project Engineer, Public Works - David Margolis-Pineo, Deputy City Engineer, Public Works - Doug Roncarati, Stormwater Coordinator, Public Works | - Greg Vining, Associate Engineer, Public Works - Michelle Sweeney, Associate Engineer - John Low, Associate Engineer, Public Works - Rhonda Zazzara, Field Inspection Coordinator, Public Works - Mike Farmer, Project Engineer, Public Works - Jane Ward, Administration, Public Works - Jeff Tarling, City Arborist - Jeremiah Bartlett, Public Works - Keith Gautreau, Fire Department - Jennifer Thompson, Corporation Counsel - Thomas Errico, P.E., TY Lin Associates - David Senus, P.E., Woodard and Curran - Rick Blackburn, Assessor’s Department - Approval Letter File |
| --- | --- |