January 24, 2006

Mr. Bob Gaudreau

1039 Riverside LLC

45 Bridgton Road

Westbrook, ME 04092

RE:	Office/Warehouse Expansion and Subdivision Amendment, 1039 Riverside Street

ID #2005-0116, CBL #331-A-001

Dear Mr. Gaudreau:

On January 10, 2006, the Portland Planning Board voted unanimously (6-0, Silk absent) on the following motions regarding the 1039 Riverside Street Office/Warehouse Expansion and Subdivision Amendment.

1.	That the development is in conformance with the Site Location of Development Review, and the Subdivision Ordinance and Site Plan Ordinance of the Land Use Code with the following conditions:

i.	That the developer submit a driveway access easement for the proposed 30-foot-wide drive to be shared by tenants and City of Portland personnel, to be reviewed and approved by Corporation Counsel, prior to issuance of a building permit. The plans shall be revised to address concerns to provide access or unimpeded access for the City.

ii.	That a sewer capacity letter from the Portland Sewer Division be submitted prior to issuance of a building permit.

iii.	That the developer address the concerns raised in the Development Review Coordinator’s memo dated January 6, 2006 regarding water quality, Drainage Maintenance Agreement and Roof drains to be reviewed and approved by the Development Review Coordinator prior to issuance of a building permit.  Those concerns are as follows:

a.	The project has not shown evidence that they meet the stormwater quality standards as required by the MeDEP and per the City’s stormwater standard for required treatment when parking areas exceed 25 spaces.  A narrative and calculation discussing and showing proof that the standard has been met must be submitted for the entire site.  See comment d.

b.	The applicant states that the new entrance area will collect runoff from 0.18 acres and then will be treated with a water quality unit prior to discharging into the City drains in Riverside Street.  No water quality unit is shown or described on the plans and the connection shall be made to the drain manhole not the catch basin.  A drainage maintenance agreement will be required as well.

c.	The watershed #2 is diverting a great deal of increase flows to the City system, which doubles the rate of the existing condition rate.  Is the City system capable or have capacity to handle the increase?  Please obtain letter from Public Works acknowledging the ability to handle the increase.  Increases to flows directed to the rear of the site are not of concern.

d.	The parking area associated with the existing warehouse has not adequately treated runoff and shall require another treatment unit between the last basin CB-21 and the outfall of the drainage to the ravine in the rear.  The rationale selected to determine that the project needs to treat existing areas is because the project falls under Site Location of Development standards requiring the portion of the site not exempt from Site Location Law (built prior to 1976) to be in conformance with current standards at the time of their application.  While the applicant determined that 3.86 acres of impervious existed before 1997 and has placed 5 treatment tanks, we feel that the applicant still has not necessarily proven that they meet the treatment requirement under Site Law; unless they state the existing impervious surface was pre-1976.  It is felt the applicant should address the dates of development, or provide reasonable means to indicate that the existing site will be treated in a feasible manner, either by showing existing swales provide reasonable treatment, or that the existing front parking lot (approx. 75 spaces) provide treatment down gradient of DMH-8.  Furthermore, the treatment of this existing lot is more beneficial than placing the water quality unit #5. Unit 5 is so small it has no real impact, and in lieu of that unit, a larger unit is preferred, or improved treatment measures for the existing parking area, providing better quality to the adjacent wetlands and Presumpscot River.

e.	The new entrance road adjacent to the golf course property shall be curbed with a Cape Cod style curb to direct runoff to the catch basins and eventually the treatment systems.  Also the parking stalls on that property line for Unit 15 shall also be curbed, guardrail or fenced to prevent parking up to the property line.

f.	The water quality unit (WQU-#4) behind Unit 15, is an inaccessible area, and situated on a steep slope.  The unit shall be set at the location of DMH-9 and the DMH-9 may be eliminated.  The outfall from this system shall require the appropriate apron/plunge pool design prior to exiting the property.

g.	Please indicate where all roof drain leaders will tie into the associated drain systems.  The applicant responded that roof leaders would tie into the closest drainage appurtenance to each separate building.  The applicant shall add a note stating this on the grading plan and/or note which specific roof tops may daylight to the wetlands in the rear, if any.

h.	The watershed map is a little confusing in that some watersheds are not labeled correctly and the unit numbering uses the same symbol as the watershed delineation.  Please refine and clean the plan so it is cleaner and easier to read.

i.	Please refer to comments from the City Traffic Engineer for concerns of traffic movements, trip generation, and internal movements.

j.	Where will access and parking be for Unit 9? No parking has been shown at this unit nor has a loading area.

k.	Will the site have directional signs? The site is interconnected, and location and access to certain units confusing, how will the site be numbered/named and meet 911 Emergency Response address concerns?

l.	Letters to serve and available capacities appear to have been obtained showing that adequate service exists for the development.  Not received for review to date.

m.	The electric services from Riverside Street shall be installed underground as should technically all electrical services since this plan appears to be a subdivision plan as well as a site plan.  The overhead electrical service from pole #106 at the southern entrance exists, and is merely being replaced, which seems reasonable.  The only other run of overhead utilities proposed is to service unit 11 from behind unit 5.  Unit 5 was serviced with an overhead line, and the underground layout to the Unit 5 could conflict with water lines and be difficult given the topography.  We would agree with overhead service to this unit if the poles and lines were set back from the building on the ravine side of the proposed water so that they would be less obtrusive.

n.	The area proposed for outside of unit 13 exists as a gravel surface.  Surface runoff from this area sheet flows across the paving to Unit 10 and appears as though it will be a nuisance of sediment transfer, we recommend paving this gravel area. And for the gravel section in the rear of Unit 13, the applicant should consider providing a vegetated buffer to treat runoff, and/or stabilize the bank with erosion control matting and riprap.

o.	The entrance for access to Units 14 and 15 shall be constructed with a stabilized entrance.

p.	The toe of the slope in back of Unit 15 shall be protected with erosion control measures and we recommend a double barrier at this location.  The ditch along Unit 15 shall utilize check dams until vegetation is 90% established, and given the slope the engineer may consider using Erosion control mesh to stabilize the soil in the ditch.

q.	The sizing and detail specifications with clear relativity to the water quality units shown on the plan shall be attached for review along with a site specific maintenance plan and draft contract for cleaning services.  The submittal includes only one treatment unit’s details and the plan calls for two, the report implies three, and we feel a fourth may be needed.  See comment d.  Prior to construction the actual details of the water quality units selected shall be submitted and reviewed in plan form for Staff/DRC/Development Review Engineer review.  All devices must be in compliance with MeDEP sizing criteria for performance standards.

r.	A significant amount of wetlands were filled as a result of the original development and setbacks were established for the stream running across the parcel.  The plans appear to have not updated the newly acquired parcel for wetland delineation or potential setback from a stream.  Unit 15 is situated on a steep embankment.  Is this part of the stream bank, or are there wetlands associated at the toe.  Furthermore we recommend that a geotechnical report for the foundation be submitted for this unit during the building permit process to assure stability on the slope.  Please see planners letter regarding violations of wetland impacts during construction of PHASE 1 and needs to restore non-permitted wetland impacts.  Planning staff or Development Review Engineer must review final geotechnical reports.

s.	The applicant is required to file a revised Maine Construction General Permit for this project.  This must be obtained prior to the start of construction.

t.	The plans shall provide a north arrow for reference.

u.	The area delineated as snow storage behind Unit 5 is not appropriate or large enough for the entire site.  The applicant has maximized available space for development, and given the extent of parking, snow removal is of concern.  Please provide a plan to address snow removal if it to be stored on site.

v.	The general notes shall provide actual setbacks, parking requirements, and impervious ratios not just list the required zoning standards.

w.	The landscaping provisions appear rather limited and should be enhanced.  The use of lower foundation plantings would enhance appearances as would lower vegetation along the Riverside building frontages and islands.  Please delineate tree preserve areas and the measures that will be utilized to protect trees during construction.  We strongly recommend that the City Arborist review the plans with recommendations.

iv.	That the developer submit an updated letter of financial capability addressing this proposed development, prior to issuance of a building permit.

v.	A certificate of occupancy for any new building commenced after January 10, 2006 shall not be issued until such time that the wetland area restoration is complete.

vi.	The Zoning Administrator shall review and approve the plans for compliance with the zoning ordinance.

vii.	That elevations of all sides of the buildings showing façade material shall be submitted for review and approval by staff prior to issuance of a building permit.

viii.	That the City Arborist review and approve the landscape plan prior to issuance of a building permit.

ix.	That lighting catalogue cuts and a lighting photometric plan shall be submitted to determine that the proposed lighting is in conformance with the City’s lighting standards, to be reviewed and approved by staff, prior to issuance of a building permit.

x.	That the developer submit a plan to the Fire Department addressing fire apparatus access and egress, hydrant locations and warehouse storage information for review and approval of the Fire Department.

xi.	That the site plan be amended to show the previously approved expansion of building 4 and 5.  And also revised to remove reference to tree save areas in those portions of the site plan that are being developed to the northern most access drive.

The approval is based on the submitted plan and the findings related to subdivision and site plan review standards as contained in Planning Board #2-06, which is attached.

Please note the following provisions and requirements for all subdivision approvals:

1.	Mylar copies of the construction drawing for the subdivision must be submitted to the Public Works Department prior to the release of the plat.  Where submission drawings are available in electronic form, the applicant shall submit any available electronic CADD.DXF files with the final plans.

2.	A performance guarantee covering the site improvements as well as an inspection fee payment of 2.0% of the guarantee amount must be submitted to and approved by the Planning Division and Public works prior to the recording of the subdivision plat.  The subdivision approval is valid for three (3) years.

3.	A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

4.	Prior to construction, a preconstruction meeting shall be held at the project site with the contractor, development review coordinator, Public Work's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the preconstruction meeting.

5.	If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

6.	The Development Review Coordinator must be notified five (5) working days prior to date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Department at 874-8632.  Please make allowances for completion of site plan requirements determined to be incomplete or defective during the inspection.  This is essential as all site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions regarding the Board's actions, please contact Kandice Talbot at 874-8901.

Sincerely,

Kevin Beal, Chair

Portland Planning Board

cc: 	Lee D. Urban, Planning and Development Department Director

Alexander Jaegerman, Planning Division Director

Sarah Hopkins, Development Review Services Manager

Kandice Talbot, Planner

Jay Reynolds, Development Review Coordinator

Marge Schmuckal, Zoning Administrator

Inspections Division

Michael Bobinsky, Public Works Director

Traffic Division

Eric Labelle, City Engineer

Bill Scott, Public Works

Jeff Tarling, City Arborist

Penny Littell, Associate Corporation Counsel

Fire Prevention

Assessor's Office

Approval Letter File

Steve Bushey, Deluca-Hoffman Associates