## Memorandum

Department of Planning and Development

Planning Division

To:		Chair Lowry and Members of the Portland Planning Board

From:		Kandice Talbot, Planner

Date:		Prepared on October 14, 2005 for

October 18, 2005 Workshop

Re:		1039 Riverside Street Warehouse and Amendment

1039 Riverside LLC, Applicant

### Introduction

1039 Riverside Street LLC is requesting site plan review of two adjoining lots off Riverside Street.  The project sites include the existing site, which is approximately 16.68 acres and owned by the applicant and containing the Second Tee Condominium Association Business Park at 1039 Riverside Street.  The second site, which is approximately 2.06 acres abuts the Second Tee Business Park to the northeast and is currently owned by the City.  The project sites are provided with frontage along Riverside Street and are generally bordered by a City-owned lot to the northeast, multiple industrial properties to the southwest, and the Maine Turnpike to the southeast.  The project sites are zoned I-M Industrial Moderate.

The 2.06-acre lot is currently contained within an approximately 10-acre lot owned by the City.  The Riverside Municipal Golf Course currently utilizes this lot.  If site plan approval is granted for this site, the City’s Economic and Community Development Division may recommend to the City Council that the 2.06 acre lot be sold to 1039 Riverside Street LLC.  If approved, the applicant’s intent would be to include the 2.06-acre development site in the previously approved Second Tee Condominium Association.

The planned development at the 2.06-acre lot includes a one (1) story, 21,900 sq. ft., multi-tenant office building/warehouse and a one (1) story, 8,780 sq. ft. single-tenant office building/warehouse, for a total building area of 30,680 sq. ft.

The applicant is also proposing a number of modifications to the approved Second Tee Condominium Business Park site plan.  Planned development include the following:

-	Reconfiguration of building units 1, 2, 3 to include three (3), one (1) story 7,500 sq. ft. single-tenant building/warehouse spaces with no designated future building area expansions for a total of 22,500 sq. ft. of proposed building area.

-	Reconfiguration of building unit 4 to include a one (1)-story 10,000 sq. ft. single-tenant office building/warehouse space with a designated future building area expansion of 2,183 sq. ft. of a total of 12,183 sq. ft. of proposed building area.

-	Reconfiguration of building unit 9 to include a one (1) story 6,000 sq. ft. single-tenant office building/warehouse space with a designated future building area of expansion of 1,800 sq. ft. for a total of 7,800 sq. ft. of building area.

-	Reconfiguration of building unit 10 to include a one (1)-story 4,800 sq. ft. single-tenant office building/warehouse space with no designated future building expansion.

-	Reconfiguration of building unit 11 to include a one (1)-story 8,885 sq. ft. single-tenant office building/warehouse space with no designated future building expansion.

-	Realignment of several limited comment element areas within the Condominium Association Park.

These planned improvements all result from ongoing tenant negotiations and reflect building size and parking area requirements for existing and prospective tenants.  These revisions will enable tenants to conduct business operations within the Condominium Park.  These revisions result in no substantial changes to the project’s overall compliance with zoning, drainage, or utility requirements.

All spaces within each development lot will be provided for the purpose of leasing to tenants.  It is expected that the buildings will be traditional metal-framed structure with one or more entrances, one or two overhead doors, and loading areas to serve the buildings’ warehouse functions.

### History

The following is a chronology of prior Planning Authority actions associated with the Second Tee Condominium Business Park located at 1039 Riverside Street.

-	The Planning Board granted final subdivision approval for the condominium plat and plan on April 15, 2004 and the Planning Board found that the planned development was in conformance with the Site Plan Ordinance of the Land Use Code.  The Planning Board granted approval on April 15, 2004 with the condition that any future building expansions be reviewed and approved by the Planning Authority.

-	The original plat and plan was recorded in the Cumberland County Registry of Deeds on May 4, 2004.

-	On September 17, 2004, a minor site plan amendment application was submitted to the City for review and approval for the reconfiguration/realignment of building unit area 8.

-	On October 4, 2004 a minor site plan amendment application was submitted to the City for review and approval for the reconfiguration/realignment of building unit areas 7, 8, 10, and 11, and the deletion of building unit area 6.

-	The amended plat and plan was recorded in the Cumberland County Registry of Deeds on December 16, 2004.

-	One May 20, 2005 a minor site plan amendment application was submitted to the City for review and approval for the reconfiguration/realignment of building unit areas 4 and 10 and the realignment of the limited common element area to be shared between building units 10 and 13.  The second amended plat and plan was approved on June 2, 2005.

-	The second amended plat and plan will be recorded upon approval from the representatives for building unit 5, Walsh Publishing.

### Prospective 2.06-acre Development

### Access/Circulation

The lot currently contains an undeveloped 20-foot-wide gravel access drive off Riverside Street.  The existing access drive contains significant vegetated overgrowth and appears abandoned.  This access drive will be removed in the developed conditions and its frontage off Riverside Street is proposed as bituminous sidewalk with vertical granite curbing to match existing conditions found along Riverside Street.

The approximately 10-acre City-owned lot containing the prospective development is provided with a 30-foot-wide right of way off Riverside Street.  The right of way contains an existing 20-foot-wide gravel drive providing an access to the City-owned lot.  The Riverside Municipal Golf Course utilizes the access drive.  The existing drive will receive upgrades that will include a 30-foot-wide paved access entrance drive off Riverside Street.  The 30-foot-wide drive will be a shared drive utilized by prospective tenants and golf course personnel.  Maintenance of the access drive will fall to the Second Tee Business Park Association.  An easement will be required for the shared access.

The proposed access entrance drive will be extended to the adjoining Condominium Park’s northeastern property boundary.  The alignment will provide two access locations to the prospective site and provide non-congested vehicular traffic movement for the Condominium Business Park.

44 parking spaces are proposed, 31 are required.

The Traffic Engineer is currently reviewing the plans.

### Utilities

A new 6-inch water line will be extended off an existing 6-inch water line within the Second Tee Business Park to the prospective lot.  Improvements will include the installation of a hydrant assembly and 1-inch service lines to each proposed building.  A capacity letter from the Portland Water District will be required prior to a public hearing.

Electrical service will include underground electrical service to each building from an existing transformer located within the Condominium Park and proximate to the development site.

Sanitary sewer service will include 6-inch PVC sewer laterals from each proposed building conveyed through a series of proposed sewer manholes located within the Second Tee Business Park prior to tie-in to the 10-inch PVC sewer interceptor pipe conveying sewerage from the upper Riverside Street service area to the Presumpscot North Main Interceptor Sewer.  A capacity letter from the Portland Sewer Division shall be required prior to a public hearing.

### Drainage

A stormwater collection system will include catch basins, drain manholes, water quality units, and storm drains to convey stormwater runoff from the proposed impervious surfaces.

Two stormwater collection systems have been provided for the prospective site.  The first storm drain system will serve the front of the site along Riverside Street.  Stormwater runoff will be collected from approximately 0.18 acres of impervious surface and conveyed to a water quality unit prior to discharge into the existing Riverside Street drainage system.

The second storm drain system will serve the remainder of the development site.  Stormwater runoff will be collected from approximately 1.18 acres of impervious surface and conveyed to a water quality unit prior to discharge to a riprap outlet plunge pool with level lip spreader to be located at the top of bank of the tributary swale.

The remainder of the site will remain as in the predeveloped conditions.

The Development Review Coordinator has reviewed the plans and finds that overall, the stormwater management plan and subsequent runoff quantity calculations appear to be acceptable and meet most of the requirements of both the MDEP and the City.  However, there are a few discrepancies to conform to both MDEP issues and Portland standards for water quality.  These items will need to be addressed prior to Public Hearing.  The DRC’s memo is included as Attachment 2.

### Lighting

The applicant has stated that the site’s lighting will primarily consist of wall-pack units.  Staff is requesting that the applicant submit lighting catalogue cuts and a lighting photometric plan to determine that the proposed lighting is in compliance with the City’s technical standards.

### Landscaping

The applicant has stated that landscaping will be minimal, since the project is located in a light industrial area and is also located on a site sheltered by mature trees all around it.  The City Arborist is currently reviewing the plans.

### Building Design

It is expected that the buildings will be traditional metal-framed structures with one or more entrances, on or two overhead doors and possible loading areas.  The typical floor plan will consist of open warehouse, a small office, which will be less than 750 sq. ft. and a restroom in each building.  Staff is requesting that the applicant submit elevations of the building with materials for review.

### Fire

The Fire Department is currently reviewing the plans.

Right-Title-Interest

The applicant has stated that if it is granted site plan approval for the prospective site than the City may sell them a portion of the site.  However, at this point, the applicant does not have right to the City property.  The City will need to be a co-applicant on this project or a purchase and sales agreement would be required.

Other

The applicant is required to file a Maine Construction General Permit for this project.  This must be obtained prior to the start of construction.

### Condominium Site Amendment

Technically, because no lot has been created, this amendment can be reviewed as a minor site amendment and Planning Authority may approve the amendment.  However, since the applicant was going to the Planning Board for review of the prospective lot, staff felt that the Board might be interested in the number of changes that have occurred within the condominium development.

### Access/Circulation

The proposed improvements will include upgrades and paving to the 24-foot-wide access drive located at the middle of the 1039 Riverside Street lot frontage to serve building units 1 through 4.

When completed, there will be 309 parking spaces provided and loading areas to serve each building’s operational functions.

### Utilities

The proposed development activities will include the relocation of the existing 6-inch water main off the Riverside Street 12-inch main to facilitate the planned development for building 1.  Other improvements include the extension of approximately 100 linear feet of existing 2-inch domestic service installed during the summer of 2004 and installation of domestic service lines to serve proposed building units 1, 2, 3, 4, 9, 10 and 11.

Extension of the overhead electric line located within the middle portion of the site will be extended and installation of underground services to serve planned building units 10 and 11.  Underground service will be installed from a previously installed transformer to serve planned building unit 9.  Individual above-ground service will be provided to serve planned building units 1, 2, 3 and 4 at the front of the development site.

### Drainage

During the summer of 2004, two stormwater collection systems that include catch basins, drain manholes, proprietary water quality units, and storm drains were installed to collect and convey stormwater from impervious areas within the middle and back portions of the development site.

The storm drain system serving the back of the development site collects stormwater runoff from approximately 4 acres of impervious surface and conveys it into a water quality unit prior to discharge to a riprap plunge pool and level lip spreader located at the top of bank of the tributary swale.

The storm drain system serving the middle portion of the development site collects stormwater runoff from approximately 6 acres of impervious surface and conveys it into a water quality unit prior to discharge to a riprap plunge pool and level lip spreader located at the top of bank of the tributary swale.

Proposed development activities will include extension of the storm drain system serving the middle portion of the development site to collect and convey stormwater runoff from proposed impervious surfaces associated with planned building units 10 and 11.

Proposed development activities will also include the installation of a storm drain system to serve the front of the site along Riverside Street.  Stormwater runoff will be collected from approximately 2.5 acres of proposed impervious surface and conveyed to a water quality unit prior to discharge into the Riverside Street system.

The Development Review Coordinator has reviewed the plans and finds that overall, the stormwater management plan and subsequent runoff quantity calculations appear to be acceptable and meet most of the requirements of both the MDEP and the City.  However, there are a few discrepancies to conform to both MDEP issues and Portland standards for water quality.  These items will need to be addressed prior to Public Hearing.  The DRC’s memo is included as Attachment 2.

### Building Design

It is expected that the buildings will be traditional metal-framed structures with one or more entrances, on or two overhead doors and possible loading areas.  The typical floor plan will consist of open warehouse, a small office, which will be less than 750 sq. ft. and a restroom in each building.  Staff is requesting that the applicant submit elevations of the building with materials for review.

Attachments:

1.	Applicant’s Submittal dated June, 2005

2.	DRC’s memo dated September 16, 2005

3.	Plans