Mr. Robert Gaudreau							December 28, 2005

1039 Riverside Street LLC

43 Bridgton Road

Westbrook, ME 04092

RE:	Wetland Encroachment and Treatment System Substitution, 1039 Riverside Street

ID #2003-0200, CBL #331-A-001

Dear Mr. Gaudreau:

The City has reviewed your submittal dated 11/04/05 (Wetlands) and the most recent submittal (Treatment System Substitution), and have the following comments:

- Wetland: On May 19th 2005, we met on site and areas of wetland disturbance were identified.  In November 3rd, this area was re-inspected after survey stakes were installed to identify the existing wetland boundary.  This inspection confirmed areas of encroachment.  As a result, your fax was submitted to address this encroachment; however, the fax (attached) does not address this issue.

  - Wetland encroachment on the site does not match the highlighted area on your fax.

  - Tree line on the site does not match the site plan; Attached photo suggests additional wetland disturbance.

  - Drainage swale/trench that has been created within wetland area is not on a plan.  This is located within the wetland area.

  - Fax does not indicate the square footage of the encroachment.

  - Fax does not indicate whether or not your intention is to restore this area or modify your site location permit.

- Treatment System Substitution:  Attached are Sebago Technics’ review comments.  To summarize, the following needs to be addressed:

  - There is not enough information to indicate whether or not this proposal is providing the same treatment capability as the previously approved Vortechnic unit.

  - This proposal would be an amendment to your Maine DEP Site Location of Development Permit.  A formal amendment/application is needed, and/or, this change could be included in any pending amendments you may already be working on as part of your newest revisions to your site.

Sincerely,

Jay Reynolds

Development Review Coordinator

cc: 	Sarah Hopkins, Development Review Services Manager

Kandice Talbot, Planner

James Seymour, Sebago Technics, Inc.