August 8, 2018

Fire Prevention Office

Portland, ME 04101

Attn: Captain John Brennan

RE: Reed School

19 Libby Street

Portland, ME 04103

Captain Brennan,

Please be advised that Interstate Fire Protection has completed the installation of an ANSUL Fire Suppression System for the protection of the Vent Hood and Appliances at the above mentioned location.

The System installation is in compliance with the State, Local and Federal Fire Codes as well as the manufacturers (ANSUL) specifications. It also complies with NFPA 17A Standard for Wet Chemical Extinguishing Systems.

The System has means of automatic detection (Fusible Links) as well as a Remote Manual Pull Station Actuation. In the event of a System Actuation the gas feed to the appliance beneath the Vent Hood will shut down, and means to notify the Fire Department will occur through snap action micro-switch located in the Fire Suppression System Control Box.

The System was Tested and witnessed by your office on Wednesday, August 8, 2018.

I respectfully submit this letter and should you require any more information, please do not hesitate to contact me.

Sincerely,

Steven D Cram

Office: 800-717-6454

Cell: 603-455-2380

Fax: 603-356-2763

E-mail: scram@interstatefire.com