Mr. Timothy Madden									July 7, 2005

28 Chestnut Street

Portland, ME 04101

Dear Mr. Madden:

RE:	Application for Single Family House, Farragut Street, ID # 2005-0139

Upon review of the site plan, the City’s Planning Division has the following comments:

- Please provide proposed grading/topography on the lot.  This should match the previously approved grading as shown on the Farragut Street Extension plans approved on April 16, 2003.  Add to plan

- Please note the Finish floor elevation.  This should be tied into the same elevation data as your proposed topography.

- Add the distances of the lot lines to the site plan

- Two street trees are required for single-family development, along your street frontage.  Add to plan.

- A backflow preventer is highly recommended on the 4” storm drain lead.  Please add a note to the plan.

Please submit 4 copies of full size/scalable revised plans to my attention.

Sincerely,

Jay Reynolds

Development Review Coordinator

cc:  	Sarah Hopkins, Development Review Services Manager