Director of Planning and Urban Development

Penny St. Louis Littell

Inspection Services, Director

Tammy M. Munson

December 26, 2008

Thomas A. Derrig

11 Main Street Suite 7-232

Westbrook, Maine 04092

CBL: 340-D-003001                                           Certified Mail Receipt # 7003 3110 0002 6063 7131

Location: 1445 FOREST AVE

Dear Mr. Derrig:

An inspection of the above referenced property on 12/24/2008 revealed that the structure fails to comply with Section 6-120.1 & 6-120.2 of the Housing Code of the City of Portland.

The following is a list of violations:

6-120.2 – second floor – inadequate heating supply – boiler not functioning

6-120.2 – second floor – damaged heating supply pipes due to freezing

6-120.1 – first floor – severe water damage to ceilings & floors due to frozen heat pipes

6-120.2 – first & second floor – excessive wiring and light fixtures exposed to water damage – a licensed master electrician must evaluate all wiring in the building prior to re-occupancy.

Based on this list, and pursuant to Section 6-120.3, this office declares the structure unfit for human habitation.  The structure must remain completely vacated and must be secured from vandalism.

Failure to comply will result in this office referring the matter to the City of Portland Corporation Counsel for legal action and possible civil penalties, as provided for in Section 1-15 of the Code in Title 30-A of M.R.S.A ss 4452. Please feel free to contact me at 207-874-8706 if you have any questions or would like to discuss this matter further.

Sincerely,

Tammy M. Munson

Director of Inspections

cc. EMC Mortgage Property Preservation Department