Caiazzo & Son’s Plumbing Inc

700 U.S. Route One

Scarborough, Maine 04074

Re; 112 Shepard Lane Portland Maine 04103

To whom it may concern;

I have inspected the plumbing in the basement which included an ejector pump

that a bathroom and laundry drained into. Behind the bathroom, exposed was the

waste and vent lines for the pump, lavatory etc. All were installed according to

code. Please note that I did not inspect the underground plumbing and am

making a reasonable assumption that all is acceptable due to the fact that it has

operated for many years.

Thank you

Steve Caiazzo

Master Plumber Maine license # MS7844