From: 	Jean Fraser
To:	Fraser, Jean
Date: 	11/21/2012 11:53 AM
Subject: 	Re: Fwd: asap please Golf Pro Shop, Riverside Street

>>> Chris Pirone 11/21/2012 7:15 AM >>>
Fire Comments:

All construction and installation shall comply with 2009 NFPA 1, 2009 NFPA 101.

All construction and installation shall comply with City of Portland Fire Department Building Regulations. http://www.portlandmaine.gov/fireprevention/fdrulesandregulations.pdf

All construction and installation shall comply with City Code Chapter 10.
http://www.portlandmaine.gov/citycode/chapter010.pdf

Street addresses shall be marked on the structure and shall be as approved by the City E-911 Addressing Officer.  Contact Michelle Sweeney at 874-8682 for further information.

Pay special attention to:

If the building has a sprinkler system; fire hydrants must be within 100’ but no closer than 40’.
Fire Department Connections shall not be located where large diameter hose may block egress.
2009 NFPA 1 18.4 Fire Flow Requirements for Buildings 
-may require installation of fire hydrant to meet fire flow requirements.

Captain Chris Pirone
Portland Fire Department
Fire Prevention Bureau
380 Congress Street
Portland, ME 04101
(t) 207.874.8405
(f) 207.874.8410