From: 	Jean Fraser
To:	Alves, Kathy
CC:	Pirone, Chris
Date: 	3/27/2013 11:20 AM
Subject: 	Re: Riverside So Course Pro Shop

Kathy
 
I discussed this with the Site Plan reviewers at our regular review meeting this morning and would advise that you apply for a building permit immediately (simultaneously with the site plan application).  It appears that there are a couple of issues that need to be addressed in advance -  particularly fire department requirements for both the building and the hydrants.
 
I understand from Chris Pirone in the Fire Department that the building may need to be sprinkled and that has implications for the location and pressure of fire hydrants.  Maybe you have already investigated this but as it was not mentioned to me yesterday I thought I should relay this information-  apparently during the review of the previous project there was an extensive communication between Mike Farmer and Chris Pirone over some of the same issues.
 
thank you
Jean
Ext 8728