# MEMORANDUM

# TO:	Barbara Barhydt

# FROM:	Dan Goyette, PE – Development Review Engineer, Woodard & Curran

# DATE:	March 28, 2007

# RE:	The First Tee Golf Course Site Plan Review

Woodard & Curran has reviewed the Minor Site Plan Application for a new pro shop/classroom facility and a seven acre practice course located at 1158 Riverside Street, Portland.  The Maine Youth Golf Foundation will be constructing the facility adjacent to the existing 9-hole South Course at Riverside.

Documents Reviewed

- Application for Minor Site Plan Approval and associated materials, dated March 12, 2007.

- Master Plan, Dated June 3, 2005, by Cornish, Silva and Mungeam, Inc.

- Engineering plan sheets 1-3, dated August 31, 2006, by Land Use Consultants, Inc.

Comments

- No detail has been provided for the pavement sawcut and repair patching required in the existing parking lot for the installation of utility lines.

- A utility pipe trench detail has not been provided.

- The plan shows the cart path surface as either bituminous pavement or aggregate surface.  A bituminous pavement path detail has not been included.

Please contact our office if you have any questions.

DRG

203943.10