## Proposal
2014-01-24
187 Washington St Auburn, ME 04211 |  | Fire System Proposal
Presented to: | David Cimino | Site Location: | 1000 Riverside Street Association
| Project Manager |  | 1000 Riverside Street
| Stroudwater Construction |  | Portland
| 96 Ocean Street |  | Maine 04103
South Portland
Maine 04106
Part # | Manufacturer | Description | Qty | Price/Unit | Total | Cost/Unit | Total
Fire Detection & Monitoring | [6 empty] | 0
FL-MS9200UDLS E | FIRELITE | 198 ADDRESSABLE FIRE PANEL | 1 | 773.6125 | 773.6125 | 618.89 | 618.89
FL-ANN80 | FIRE LITE | ANNUNCIATORS | 2 | 237.5 | 475 | 190 | 380
FL-BG12L | FIRELITE | ADDRESSABLE PULL STATIONS | 11 | 74.9875 | 824.8625 | 59.99 | 659.89
BK-PC2R | FIRELITE | CEILING MOUNT STROBE | 7 | 42.5 | 297.5 | 34 | 238
BK-SCR | FIRELITE | STROBES | 7 | 31.25 | 218.75 | 25 | 175
BK-P2R | FIRELITE | HORN/STROBE | 12 | 41.85 | 502.2 | 33.48 | 401.76
ED-ECLLT | EDWARDS | REMOTE TEST SWITCH | 1 | 176.975 | 176.975 | 141.58 | 141.58
FL-DST3 | FIRELITE | SAMPLING TUBE | 5 | 8.6875 | 43.4375 | 6.95 | 34.75
FL-SD355 | FIRELITE | SMOKE DETECTOR | 1 | 57.4875 | 57.4875 | 45.99 | 45.99
PL-VSR8 | POTTER | SPRINKLER FLOW SWITCH | 1 | 19.9875 | 19.9875 | 15.99 | 15.99
BK-WFDW | SYSTEM SENSOR | SPRINKLER TAMPER SWITCH | 1 | 19.9875 | 19.9875 | 15.99 | 15.99
FL-D355PL | FIRELITE | INTEL DUCT DETECTOR | 5 | 152.4375 | 762.1875 | 121.95 | 609.75
06-SSU00672 | SPACEAGE | FIRE DRAWING BOX | 1 | 57.65 | 57.65 | 46.12 | 46.12
FL-MMF302 | FIRELITE | ADDRESSABLE 2 WIRE MONITOR MODULE | 2 | 83.3375 | 166.675 | 66.67 | 133.34
FL-MMF300 | FIRELITE | ADDRESSABLE MONITOR MODULE | 4 | 45.8375 | 183.35 | 36.67 | 146.68
Wire & Cable | [6 empty] | 0
| Uniprise Media | Fire Cable | 3 | 325 | 975 | 260 | 780
|  | Misc. Connectors | 1 | 196.25 | 196.25 | 157 | 157
|  |  |  | 0 | 0 |  | 0
|  |  |  | 0 | 0 |  | 0
|  | Materials |  |  | 5750.9125 |  | 4600.73
| Monthly Service | Monthly Fee |  | Installation | 10790 |  | 6640
| Fire Monitoring | 19.95 |  | Subtotal | 16540.9125 |  | 11240.73
| Cell Communication | 20 |  | Shipping | 172.5274 | Margin | 1.25
| Fire Inspections | 23 |  | Sales Tax |  | GP % | 32.04%
| Total Monthly Fee | 62.95 |  | Total | 16713.4399 | GP $ | 5300.1825
| Monthly Service Billing: | ____Monthly ____Quarterly ____Semi Annually ____Annually
Terms and Conditions:
Payment is due as follows on Projects over $10,000.00 - 1/3 deposit (Due Upon Acceptance), 1/3 at start of project
(Terms Net 30 Days) and 1/3 upon completion (Terms Net 30 days).
It is understood that the system referred to above has been chosen by the customer after considering and balancing
the levels of protection afforded by various types of systems and related costs. System includes a 1-year parts & labor
warranty during CPDI normal business hours (Monday through Friday between 8:00AM and 5:00PM, excluding CPDI
may result in the cancellation of system warranty. Any alterations or deviations from the above specifications involving
extra costs will be completed (and charged) upon written order. All prices are valid for 45 days. By issuance of a
purchase order the customer accepts all terms and conditions of thisproposal. Cancellation of an order will incur
a 50% restocking charge on equipment received by CPDI.
Offered By: |  | Accepted By:
Connectivity Point Design & Installation, LLC. |  | Authorized Signature:
187 Washingtoin St
Auburn, ME 04211 |  | Title:
Tel# (207)782-0200
Fax# (207)753-0200 |  | Purchase Order:
http://www.connectivitypoint.com
Date:
Representative: __________________________________

## Labor
Access Control |  |  |  | CCTV |  |  |  | Intrusion |  |  |  | Fire
| Hrs | Qty | Total |  | Hrs | Qty | Total |  | Hrs | Qty | Total |  | Hrs | Qty | Total
Reader | 4 |  | 0 | Interior Fixed Camera | 2 |  | 0 | Keypad | 2 |  | 0 | Panel | 8 | 1 | 8
REX | 2 |  | 0 | Exterior Fixed Camera | 3 |  | 0 | Motion Detector | 2 |  | 0 | Pull Station | 2 | 11 | 22
Contact | 2 |  | 0 | Interior PTZ | 3 |  | 0 | Contact | 2 |  | 0 | Horn/Strobe | 2 | 21 | 42
Lock | 2 |  | 0 | Exterior PTZ | 4 |  | 0 | Siren | 2 |  | 0 | Smoke Detector | 2 |  | 0
Release Button | 2 |  | 0 | Wall Mount | 2 |  | 0 | Panel | 3 |  | 0 | Duct Detector | 2 | 6 | 12
Crash Bar | 2 |  | 0 | Corner Mount | 2 |  | 0 | Power Supply | 2 |  | 0 | CO Detector | 2 |  | 0
Door Holder | 2 |  | 0 | Roof Mount | 3 |  | 0 | Battery | 2 |  | 0 | Heat Detector | 2 | 2 | 4
Panel | 4 |  | 0 | Pendant Mount | 2 |  | 0 | Fob | 1 |  | 0 | Door Holder | 2 |  | 0
Reader Board | 2 |  | 0 | Parapet Mount | 3 |  | 0 | Remote Switch | 2 |  | 0 | Annunciator | 2 | 2 | 4
I/O Board | 2 |  | 0 | Interior Housing | 2 |  | 0 | Relay | 2 |  | 0 | Document Box | 2 | 1 | 2
Relay | 2 |  | 0 | Exterior Housing | 2 |  | 0 | Smoke Detector | 2 |  | 0 | Power Supply | 2 | 1 | 2
Power Supply | 2 |  | 0 | Power Supply | 2 |  | 0 | CO Detector | 3 |  | 0 | Battery | 2 |  | 0
Battery | 1 |  | 0 | Transformer | 1 |  | 0 | Water Detector | 2 |  | 0 | Communicator | 2 |  | 0
Server | 4 |  | 0 | Balun | 1 |  | 0 | Heat Detector | 2 |  | 0 |  |  |  | 0
Client | 4 |  | 0 | Relay | 2 |  | 0 | Communicator | 2 |  | 0 |  |  |  | 0
Software | 4 |  | 0 | IP Converter | 2 |  | 0 | [7 empty] | 0
|  |  | 0 | DVR | 4 |  | 0 | [7 empty] | 0
|  |  |  | NVR | 4 |  | 0 | [7 empty] | 0
|  |  |  | POE Switch | 2 |  | 0
|  |  |  | Network Switch | 4 |  | 0
|  |  |  | Server | 4 |  | 0
|  |  |  | Client | 4 |  | 0
|  |  |  | Software | 4 |  | 0
|  |  |  | Access Total Hrs | 0
|  |  |  | CCTV Total Hrs | 0
|  |  |  | IDS Total Hrs | 0
|  |  |  | Fire Total Hrs | 96
|  |  |  | Wiring | 32
|  |  |  | Conduit | 8
Training
|  |  |  | PM | 8
|  |  |  | Engineering | 22
|  |  |  | Total Labor | 166

## Customer Information
Customer Information Sheet
New Customer ?
Company Information |  | Installation Location
Company Name | Stroudwater Construction | Site Name | 1000 Riverside Street Association
Address 1 | 96 Ocean Street | Installation Address | 1000 Riverside Street
Address 2 |  | City | Portland
City | South Portland | State | Maine 04103
State | Maine 04106 | Zip Code
Zip Code |  | Contact
Date | 2014-01-24 | Phone
Tax Exempt |  | General Contractor
Tax Number |  | GC Phone
Contact Information |  | Sales Information
Contact Name | David Cimino | Customer PO
Title | Project Manager | Job Name
Contact Phone | 2076507802 | Job Number
Contact Fax |  | Sales Amount | 16540.9125
Contact Cell Phone |  | GP Amount | 5300.1825
Email |  | Hours | 166
Billing Information |  | Service Contract Information
Billing Contact |  | Contract Amount
Billing Address
City |  | Installer Information
State
Zip Code
Billing Phone |  | Project Manager
Billing Fax |  | Completion Date
Purchasing Agent
Purchasing Phone
Purchasing Fax