Mr. Anthony Orlando									August 5, 2005

57 Shepherd Street

Portland, ME 04103

Dear Mr. Orlando:

RE:	Application for Single Family House, Ball Park Drive, Lot 2, ID # 2005-0170

Upon review of the site plan, the City’s Planning Division has the following comments:

- There is a 10’ easement on your site plan that was not part of the Ball Park Subdivision.  Please elaborate.

- Please remove the foundation drain that falls within the stream buffer limit.

- A sewer cleanout is required on sewer services greater than 80 feet from the sewer main.  Please add a cleanout to the plan.

- Reduced size/copy of site plan was not to-scale.

Please submit 4 copies of full size/scalable revised plans to my attention.

Sincerely,

Jay Reynolds

Development Review Coordinator

cc:  	Sarah Hopkins, Development Review Services Manager