From: 	Bruce Hyman
To:	Helen Donaldson
CC:	Thomas Errico
Date: 	10/15/2014 3:52 PM
Subject: 	Re: Pamela Street

Kinda hard to tell what's going because the scale is poor but IF there is a min. 4'x4' landing area at the TOP of the curb ramp that has no greater cross-slope AND running slope of 2%, then I'm good. I don't see much construction detail in the SITE drawing.
 
They did not include the detail from our tech manual for the curb ramp itself (that I saw): Figure I-6D would be the most relevant for the situation although the panel orientation is a different for Pamela because it's a one-direction ramp (serving only one crossing across Pamela). They did include the correct detectable warning panel detail.

>>> Helen Donaldson 10/15/2014 3:35 PM >>>
Bruce (and Tom), 
 
Let me know if these revised plans for Pamela Road fit the bill.  I've attached your drawing for reference, Bruce. 
 
Thanks, 
Nell

>>> Bruce Hyman 10/9/2014 2:29 PM >>>
Here ya go - my suggestions per our discussions at DPS.
 
(forgot to hit send)
 
B

>>> Helen Donaldson 10/9/2014 1:27 PM >>>
Take a look at this. 

>>> Bruce Hyman 10/9/2014 1:24 PM >>>
Do you have a copy of their proposed design you could scan and send or email to me? 
 
David gave me a copy a while ago and I can't find it ... I do know what I want to propose - just need to sketch it, ideally on their plan. I don't have access to EPlan enabled yet.

>>> Helen Donaldson 10/9/2014 1:06 PM >>>
Bruce, 
 
Any progress on the crosswalk concepts?
 
Thanks, 
Nell

_____________________________________
Nell Donaldson
City of Portland Planning Division
389 Congress Street
Portland, Maine 04101
874-8723
hcd@portlandmaine.gov