# CITY OF PORTLAND, MAINE

# PLANNING BOARD

Kevin Beal, Chair

Michael Patterson, Vice Chair

Bill Hall

Lee Lowry III

Shalom Odokara

David Silk

Janice E. Tevanian

October 10, 2006

Gary Antos

Rite Aid Corporation

6700 Old Collamer Road, Suite 109

E. Syracuse, N.Y. 13057

Hope Jacobsen

Perkins Thompson

One Canal Plaza

P.O. Box 426

Portland, ME 04112

RE:	Rite Aid Retail Store at 365 Allen Avenue

CBL:	401 A027001

Dear     Mr. Antos and Ms. Jacobsen:

On  September 19, 2006, the Portland Planning Board voted 6-0 (Beal recused) to approve the site plan for the above referenced application. The approval was granted for the project with the following conditions:

      - The applicant shall present the Planning Authority with a water capacity letter from the Portland Water District.

    - The applicant shall prepare a comprehensive exterior lighting plan in conformance with the City’s exterior lighting standards subject to final review and approval by the Planning Authority.

    - all pedestrian facilities need to be ADA compliant (All ramp junctions should have HC ramps.

    - The applicant should provide information that indicates that delivery trucks can maneuver into and out of the project site and can access the loading dock.

    - Additional regulatory signs will need to be provided at the restricted driveways on both Allen Avenue and Washington Avenue.  A condition of approval should be required that notes that the applicant will be responsible for all costs associated with the installation of regulatory signage informing motorists of turn prohibitions at the driveways, subject to approval by the City Traffic Engineer.

    - The crosswalks at the public street frontages should be two white parallel lines or the City's "Block" design and shall be maintained by the applicant.

    - That the applicant shall revise the plans in accordance with Dan Goyette’s memo dated September 14, 2006.

    - That the the portion of the fence be eliminated in the area labeled “snow Storage area” along the Washington Avenue frontage of the site, adjacent to Amato’s.

    - That the proposed landscaping be installed within 90 days of the store building completion or as soon as weather permits.

The approval is based on the submitted site plan and the findings related to site plan and subdivision review standards as contained in Planning Report #49-06, which is attached.

Please note the following provisions and requirements for all site plan approvals:

1.	Where submission drawings are available in electronic form, the applicant shall submit any available electronic Autocad files (*.dwg), release 14 or greater, with seven (7) sets of the final plans.

2.	A performance guarantee covering the site improvements as well as an inspection fee payment of 2.0% of the guarantee amount and 7 final sets of plans must be submitted to and approved by the Planning Division and Public Works prior to the release of the building permit.  If you need to make any modifications to the approved site plan, you must submit a revised site plan for staff review and approval.

3.	The site plan approval will be deemed to have expired unless work in the development has commenced within one (1) year of the approval or within a time period agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the expiration date.

4.	A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

5.	Prior to construction, a pre-construction meeting shall be held at the project site with the contractor, development review coordinator, Public Work's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

6.	If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

The Development Review Coordinator must be notified five (5) working days prior to date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  Please make allowances for completion of site plan requirements determined to be incomplete or defective during the inspection.  This is essential as all site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions, please contact Sarah Hopkins at 874-8720.

Sincerely,

Kevin Beal, Chair

Portland Planning Board

cc: 	Lee D. Urban, Planning and Development Department Director

Alexander Jaegerman, Planning Division Director

Sarah Hopkins, Development Review Services Manager

Jay Reynolds, Development Review Coordinator

Marge Schmuckal, Zoning Administrator

Inspections Division

Michael Bobinsky, Public Works Director

Eric Labelle, City Engineer

Bill Clark, Public works

Jim Carmody, Transportation Manager

Jeff Tarling, City Arborist

Penny Littell, Associate Corporation Counsel

Captain Greg Cass, Fire Prevention

Assessor's Office

Approval Letter File