From: 	Doug Roncarati
To:	DSenus@woodardcurran.com;  David Margolis-Pineo;  Jean Fraser
Date: 	1/30/2013 7:52 AM
Subject: 	Re: Fwd: Old Barn Estates - Subsurface Wastewater Disposal Rules

As part of our due diligence we should at least get a copy of their PBR application to DEP and any response or comments from DEP.  The PBR application will include an erosion and sedimentation control plan to protect the stream during construction.  The applicant is also responsible for submitting a follow-up report showing that the site has been permanently stabilized and re-vegetated (probably grass in this case).

>>> Jean Fraser 1/29/2013 5:27 PM >>>
fyi-  its in e-plan too;  i had asked him for an MDEP confirmation too but maybe thats not needed?

>>> "Peter Biegel" <pbiegel@landdesignsolutions.com> 1/29/2013 5:24 PM >>>

Hi Jean,
 
I have attached the Maine Subsurface Wastewater Rules for your information.  I have clouded the sections that apply to the question concerning our project and the lots with leach fields located within 75 ft. of the intermittent stream (minor waterbodies/courses).
 
See clouded paragraphs D4, H1 and H7.
 
Thank you,
Peter
 
Peter Biegel, ASLA, LEED AP
Maine Licensed Landscape Architect
Land Design Solutions
P.O. Box 316
160 Longwoods Road
Cumberland, ME 04021
 
tel: (207) 939-1717
email: pbiegel@landdesignsolutions.com