From: 	Chris Pirone
To:	David Margolis-Pineo;  Jean Fraser;  Marge Schmuckal
Date: 	9/20/2012 6:04 PM
Subject: 	Re: urgent-  need comments on Ledgewood Drvie Subdiv (1062 Ocean)

Fire Comments:
 
All construction shall comply with City Code Chapter 10.
http://www.portlandmaine.gov/citycode/chapter010.pdf
 
Fire hydrants may be required based on 2009 NFPA 1.

Private fire mains and fire hydrants shall be maintained, tested and painted in accordance with Fire Department Regulations.
http://www.portlandmaine.gov/fireprevention/fdrulesandregulations.pdf

Street addresses shall be marked on the structure and shall be as approved by the City E-911 Addressing Officer.  Contact Michelle Sweeney at 874-8682 for further information.
 
Sprinkler systems shall be installed in accordance with NFPA 13D.

 
Captain Chris Pirone
Portland Fire Department
Fire Prevention Bureau
380 Congress Street
Portland, ME 04101
(t) 207.874.8405
(f) 207.874.8410