Memorandum

To: File

From: Don McPherson, CEO

Date: June 20, 2012

Subject: 29 & 31 True St. Final Inspection Outstanding Code Violations

The following Building Code violations remain and must be resolved prior to issuance of a Certificate of Occupancy.

- Graspable handrail at rear seps

- 24" clearance at toilet

- Basement insulation

- Nailing at floor joists

- Continuous and returned handrails all interior stairs

- Tempered glass at bottom of stairs to 3rd floors

- Consistant treads at top riser at 3rd floor

- Provide consistant treads at rear stairs