July 3, 2008

| Jerome Ade PO Box 403 Portland, ME 04112 | Deluca Hoffman Associates, Inc. Attention: Stephen Bushy 718 Main Street South Portland, ME 04106 |
| --- | --- |

RE:		 125 Presumpscot Street- Roundhouse Property

CBL:		 425  A002001

Application ID: 2008-0083

Dear Mr. Ade,

On July 3, 2008, the Portland Planning Authority approved a minor site plan for modification of three existing roof drain leaders by installing a new underground pipe system at 125 Presumpscot Street as submitted by Stephen Bushy and shown on the approved plan prepared by Deluca Hoffman Associates with a revision date of June 2, 2008 with the following conditions:

- All piping within the City Right of Way shall be either concrete or PVC. Revise this on the final site plan.

- The connection to the City system shall be made to the pipe leaving the catch basin not the catch basin structure. Revise this on the final site plan.

The approval is based on the submitted site plan.  If you need to make any modifications to the approved site plan, you must submit a revised site plan for staff review and approval.

Please note the following provisions and requirements for all site plan approvals:

- The above approvals do not constitute approval of building plans, which must be reviewed and approved by the City of Portland’s Inspection Division.

- Final sets of plans shall be submitted digitally to the Planning Division, on a CD or DVD, in AutoCAD format (*,dwg), release AutoCAD 2005 or greater.

- A performance guarantee covering the site improvements as well as an inspection fee payment of 2.0% of the guarantee amount and seven (7) final sets of plans must be submitted to and approved by the Planning Division and Public Works prior to the release of the subdivision plat for recording at the Registry of Deeds or prior to the release of a building permit, street opening permit or certificate of occupancy for site plans.  If you need to make any modifications to the approved plans, you must submit a revised subdivision or site plan application for staff review and approval.

- The site plan approval will be deemed to have expired unless work in the development has commenced within one (1) year of the approval or within a time period agreed upon in writing by the City and the applicant.  Requests to extend approvals must be received before the expiration date.

- A defect guarantee, consisting of 10% of the performance guarantee, must be posted before the performance guarantee will be released.

6.	Prior to construction, a pre-construction meeting shall be held at the project site with the contractor, development review coordinator, Public Work's representative and owner to review the construction schedule and critical aspects of the site work.  At that time, the site/building contractor shall provide three (3) copies of a detailed construction schedule to the attending City representatives.  It shall be the contractor's responsibility to arrange a mutually agreeable time for the pre-construction meeting.

7.	If work will occur within the public right-of-way such as utilities, curb, sidewalk and driveway construction, a street opening permit(s) is required for your site.  Please contact Carol Merritt at 874-8300, ext. 8828.  (Only excavators licensed by the City of Portland are eligible.)

The Development Review Coordinator must be notified five (5) working days prior to date required for final site inspection.  The Development Review Coordinator can be reached at the Planning Division at 874-8632.  Please make allowances for completion of site plan requirements determined to be incomplete or defective during the inspection.  This is essential as all site plan requirements must be completed and approved by the Development Review Coordinator prior to issuance of a Certificate of Occupancy.  Please schedule any property closing with these requirements in mind.

If there are any questions, please contact Shukria Wiar at 756-8083 or shukriaw@portlandmaine.gov

Sincerely,

Alexander Jaegerman

Planning Division Director

Electronic Distribution:

cc:

Alexander Jaegerman, Planning Division Director

Barbara Barhydt, Development Review Services Manager

Shukria Wiar, Planner

Philip DiPierro, Development Review Coordinator

Marge Schmuckal, Zoning Administrator

Jeanie Bourke, Inspections Division

Lisa Danforth, Administrative Assistant

Michael Bobinsky, Public Services Director

Kathi Earley, Public Services

Bill Clark, Public Services

Jim Carmody, City Transportation Engineer

Michael Farmer, Public Works

Jeff Tarling, City Arborist

Captain Greg Cass, Fire Prevention

Assessor's Office

Approval Letter File

Attachments:

- Performance Guarantee Packet