From: 	"Will Savage" <wsavage@acorn-engineering.com>
To:	"'Jean Fraser'" <JF@portlandmaine.gov>
CC:	"Dan Remick" <dremick@eldredgelumber.com>
Date: 	12/18/2012 1:53 PM
Subject: 	RE: Eldredge Comment Response
Attachments:	MDOT LF 12-17-12.pdf; Detail Sheet C-31.pdf; 2012.11.13 Eldredge Peer Review Memo_1.pdf

Jean,

Pursuant to our discussions I believe the attached will provide you with the necessary Site Plan RTI documentation for Parcel 3.  We appreciate you flexibility on this matter. 

Second, with regards to the final comment from the Woodard & Curran’s letter, dated 11/13/12 I have changed MH2 and CB8 to flow-through channels in lieu of 3 ft sumps. The changes are reflected within the “6’-0” Precast Catch Basin/Manhole” Detail attached to this email. The changes are also based upon discussions with David Margolis-Pineo on 11/30/12. 

I hope this answers any remaining questions. We look forward to moving forward with construction once a building permit is obtained. 

Thank-you, 

Will Savage, PE

Project Manager

Acorn Engineering, Inc

PO Box 3372

Portland, Maine 04104

www.acorn-engineering.com

B. 207.775.2655

F. 207.358.7979

C. 207.317.1884

This electronic communication, which includes any files or attachments thereto, contains proprietary or confidential information and may be privileged and otherwise protected under copyright or other applicable intellectual property laws. All information contained in this electronic communication is solely for the use of the individual(s) or entity to which it was addressed. If you are not the intended recipient(s), you are hereby notified that distributing, copying, or in any way disclosing any of the information in this e-mail is strictly prohibited. If you have received this e-mail in error, please notify the sender immediately, and destroy the communication and any files or attachments in their entirety, whether in electronic or hard copy format. Since data stored on electronic media can deteriorate, be translated or modified, Acorn Engineering, Inc., and/or affiliates will not be liable for the completeness, correctness or readability of the electronic data. The electronic data should be verified against the hard copy.

 

From: Jean Fraser [mailto:JF@portlandmaine.gov] 
Sent: Wednesday, November 14, 2012 12:07 PM
To: Will Savage
Subject: RE: Eldredge Comment Response

Will

I attach the final comments from the Peer Engineer.

I have verbal sign-offs from the other reviewers and hope to have the written sign offs soon;  since the RTI issue is still outstanding I have drafted the approval letter but will hold until the documentation is in place. 

thank you

Jean

Jean Fraser, Planner

City of Portland

874 8728