TO:		Inspections

FROM:	Jay Reynolds, Development Review Coordinator

DATE:		June 21, 2001

RE:		C. of O. for 500 Washington Ave./Building Expansion   					ID# 2000-0046     CBL (429I007)

After revisiting the site, I have the following comments:

All required work has been done per plan except for some curbing and loam/seed.

I anticipate this work may be completed by July 21, 2001.

At this time, I recommend issuing a Temporary Certificate of Occupancy.

Please contact me if you have any questions or comments.

Thank You.

Cc:	Sarah Hopkins, Development Review Services Manager

File:	O:\drc\500washington1.doc