Director of Planning and Urban Development

Penny St. Louis Littell

July 30, 2010

RAHEM LLC

PO BOX 6149

FALMOUTH , ME  04105

CBL: 435  G020001

Located at 57 ALLEN AVE						Certified Mail:  70090820000141892362

Dear Mohammad Kargar:

On July 30, 2010 the City conducted a 1:00 PM scheduled inspection of your property at 53-57 Allen Ave.  You initially agreed to be present for the inspection, notify your tenants, and provide access to all portions of the building/ property.

By virtue of this letter and the violations listed below, the City is putting you on notice of existing Housing Code and Life Safety Code (Fire) Violations observed at 53-57 Allen Ave.  These violations require immediate correction.  They are as follows:

- Smoke/ Carbon Monoxide Detectors: Smoke Detectors are either non-working or non-existent.  All smoke detectors within this building must be installed and in working order within seven (7) business days from your receipt of this letter.

  - Carbon Monoxide Detectors are required in each area giving access to bedrooms in each apartment. These detectors must be powered by a battery and the electrical service (plugged in or hardwired) in the building.

  - Note: If new wiring is installed, the City requires an electrical permit application to be submitted by a Master Electrician no later August 6, 2010.

- Illumination: Lighting within the rear “egress” fire escapes (porches) must be functional. The City requires an electrical permit application to be submitted by a Master Electrician no later than August 6, 2010.

  - The illumination of means of egress shall be continuous at all times during occupancy. Automatic, motion sensor-type lighting switches (set at a minimal of fifteen-minute duration) shall be permitted within the means of egress provided that the switch controllers are equipped for fail-safe operations.

- Pest Control: There is a fly infestation within the 57 Allen Ave. building.  A licensed Pest Control Operator must be retained to address this condition and a certification from such Operator needs to be submitted to the City.

- Garbage/ Improper Storage: Garbage has been allowed to accumulate in the basement of 53 Allen Ave. and throughout the property which needs to be removed.

  - This shall include removing, and or registering the stored vehicles identified during the walkthrough inspection, photos are attached.

- Exterior Windows: Every window or door, including basement or cellar door and hatchway, and skylight shall be substantially weathertight, watertight, and vermin proof and shall be kept in sound working condition and good repair. Furthermore, every exterior window shall include storm sash with screens or an alternative equally effective for heat retention and ventilation purposes, all in operable condition.

  - This shall include repairing the second floor ripped screen, and ground level window in front of the building located at 57 Allen Ave.

Failure to comply with this notice will result in further enforcement action by the City of Portland Corporation Counsel, as provided for in § 1-15 of the Code and in Title 30-A of M.R.S.A § 4452. This constitutes an appealable decision pursuant to § 112 of the City of Portland Building Code.

The City is committed to maintaining safe buildings, quality neighborhoods and an excellent community environment. Our citizens expect us to do everything we can in this regard; we understand that this can only be achieved through the cooperation of everyone involved.

The City wants to work with you to bring this building into compliance with our minimal standard building and housing codes. We trust that your cooperation will be evident in your meeting the above time frames.

Sincerely,

Jon Rioux,

Code Enforcement Officer

CC:  Penny St. Louis Littell, Dir. of Planning and Urban Development

Attached.